## Slide 1: UW Madison OpenDCIM
Bill Jensen
8/10/2017

## Slide 2: OpenDCIM
Overview
Goals
System Requirements
Features

## Slide 3: What is OpenDCIM
What is it?
A web based Data Center Infrastructure Management application
Free
GPL v3 license
Written by Scott Milliken of ORNL

## Slide 4: Goals
Provide complete physical inventory (asset tracking) of the data center
Support for Multiple Rooms (Data Centers)
Management of the three key elements of capacity management - space, power, and cooling
Basic contact management and integration into existing business directory via UserID
Fault Tolerance Tracking - run a power outage simulation to see what would be affected as each source goes down
Computation of Center of Gravity for each cabinet

## Slide 5: Goals - continued
Template management for devices, with ability to override per device
Optional tracking of cable connections within each cabinet, and for each switch device
Archival functions for equipment sent to salvage/disposal
Integration with intelligent power strips and UPS devices - APC, Geist Manufacturing, Liebert, and Server Technologies.
Easy to update with OIDs for other manufacturers.
Open Architecture - All built on a MySQL database for easy report building, or export to other applications

## Slide 6: System Requirements
Web host running Apache 2.x (or higher) with an SSL Enabled site.
MySQL 5.x (or higher) database
PHP 5.4 (or higher)
User Authentication (either through Apache, or using LDAP)
Web Based Client
Notes: Currently billed as a LAMP Server

## Slide 7: Current Key Features
Image mapping with custom image for creating clickable zones for each cabinet
Overlay layers on map for Power, Space, Temperature, and Weight capacity
Mapping of power connections from device -> power strip -> panel -> source feed
Mapping of network connections to any device classified as a switch
Chassis device support
Graphical Cabinet Viewer (user must supply graphic images)

## Slide 8: Current Key Features - continued
Multiple levels of user rights
Basic workflow system for generating rack requests
Reporting on Hosting Costs by department based on a cost per U and cost per Watt formula
Reporting on Fault Tolerance status for devices, and impact simulation of a panel or source feed outage
Support for automatic transfer switches

## Slide 9: In Development
RESTful API
More Canned Reports

## Slide 10: Logical Organization
Data Center
  An area that includes all of the space, power, cabinets, facilities, etc
Containers
Allows for organizing Data Centers or (nesting) other Containers
Zones
A logical or physical area of a data center
Rows
A collection of sequential collection of racks

## Slide 11: UW Motivation
UW Interest (Why are we looking at this?)
Status
Queued

## Slide 12: UW Interest
We need simple, common, sharable, editable documentation for reference and planning. Bonus points if multi-platform, has workflow features, allows for levels of authentication, doesn't excessively duplicate work, and is mobile friendly.
We have some success with this but it still remains a challenge.
OpenDCIM appears to adequately bridge some of the gaps

## Slide 13: Status
Deployed a machine with running OpenDCIM
Created some data centers
Created a few racks/rows
Created a few manufacturer and models of equipment
Populated some racks
Created a few Containers and Zones
Tested bulk import of devices
Started to model DC distribution

## Slide 14: Next Steps – What’s in the Queue
Add a few more essential models of equipment
Create and populate cabinets in key locations
Try to more accurately model
DC power panels and distribution
Apply minor fixes to code as needed
Integrate OpenDCIM application authorization into existing facilities
Move application onto a production machine

## Slide 15: Links/URLs
Wiki
  http://wiki.opendcim.org/wiki/index.php/Main_Page
Features
  http://www.opendcim.org/features.html
Software
  http://www.opendcim.org/downloads.html
  https://github.com/samilliken/openDCIM
OpenDCIM Demo
  http://www.opendcim.org/demo.html
Youtube
  https://www.youtube.com/channel/UCdDKR8jKgL_3C9YbH-cwb8Q

## Slide 16: Questions?
  bill.jensen@wisc.edu