## Slide 1: UWSysNet Transport Updates
Dan Parenteau & Jeremy Sarauer
9/24/2019

## Slide 2: SysNet vs SysNet2020
Fairly tight timeline both in terms of design and implementation.
Mix of technologies (DTN and ATN)
Shared network (integrated with BOREAS Eau Claire to Madison)
Shared Management (DNA)
Greenfield Deployment
Branch Campuses - Out of Band.
Fixed Grid
Then (SysNet):

## Slide 3: SysNet vs SysNet2020
More time to design and (hopefully) implement
Same technologies everywhere
Separate network from BOREAS
Possibly Separate Management
Brownfield Deployment
Branch Campuses - In Band
Flex Grid
Now (SysNet2020):

## Slide 4: Branch Campuses

## Slide 5: Branch Campuses

## Slide 6: ATN Locations

## Slide 7: DTN Locations

## Slide 8: ROADM

## Slide 9: ROADM

## Slide 10: ROADM

## Slide 11: ROADM

## Slide 12: ROADM Single Site

## Slide 13: ROADM Dual TID

## Slide 14: ROADM Dual TID

## Slide 15: ROADM Split TID

## Slide 16: Alien Waves
Wikipedia: an alien wavelength is a "colored" optical signal that is originated from equipment not under the direct control of the transmission network operator
We absolutely require that the system support them!
We absolutely don’t look forward to implementing them!
Notes: We want integrated first party transponders with instrumentation and FEC.

## Slide 17: CDC (Colorless, Directionless, Contentionless)

## Slide 18: Directionless

## Slide 19: Contentionless

## Slide 20: Colorless

## Slide 21: Colorless

## Slide 22: Colorless

## Slide 23: Transport Vendors
Infinera
  Comfort Level with Hardware, Software and Management
  Goldilocks Problem
    DTN/XTN and ILS Maybe Too Much
    XTM (Transmode) Maybe Too Little
    Coriant OLS Maybe Just Riiight
Ciena
  Large Market Share (Indiana, Illinois, Internet2)
  Aggressive Response (Time, Budget)
  Less Comfort Level
Notes: Notes on design implications. The Infinera switching backplane, we love it, and we're not going to have it. It worked well for UWSysNet, but continuing to invest in that platform is not forward looking (don't want to waste any money).
The new world order is point-to-point, that has flexibility and limitations. Lighting up another "big pile o' waves" is no problem technically, but will have significant costs beyond areas targeted at turn up (backbone). Luckily, we take large leaps in data rates over longer intervals unlike telcos who continually add additional capacity as new customers come online. They build to ba able to grow (sometimes), we build to not have to grow.

## Slide 24: Backbone Design

## Slide 25: 100G Demands

## Slide 26: 10G Demands

## Slide 27: Protection Topology

## Slide 28: Questions?
  dan.parenteau@wisc.edu
  jeremy.sarauer@wisc.edu